## Parts List
Part | Vendor | Catalog # | Cost in Euros | Cost in Dollars | Notes
Headstage | IMEC | HS_1000 | 250 | 300 | Buy backups in case of failure
PXIe Acquisition Module | IMEC | PXIe_1000 | 2400 | 2880 | IMEC PXIe module
Interface Cable | IMEC | CBL_1000 | 175 | 210 | Buy backups in case of failure
Coaxial Cable, SMA Male to BNC Male | Thorlabs | CA2848 |  | 19.37 | connects IMEC module to the BNC board
NI PXIe-1071, 4-Slot 3U PXI Express Chassis | National Instruments | 781368-01 |  | 1274 | Chassis
APS-4100 Auxiliary Power Source for NI DC Power Supplies | National Instruments | 779671-01 |  | 276 | Chassis power (optional)
Power Cord, AC, U.S., 120 VAC, 2.3 meters | National Instruments | 763000-01 |  | 13 | Chassis power
PXIe-6341, X Series DAQ | National Instruments | 781052-01 |  | 1404 | NI DAQ PXIe module; 24 DIO but only 8 at 1MHz
BNC-2110 Noise Rejecting, Shielded BNC Connector Block | National Instruments | 777643-01 |  | 446 | Sync block
SHC68-68-EPM Shielded Cable, 68 D-Typeto 68 VHDCI Offset, 0.5m | National Instruments | 192061-0R5 |  | 132 | Connects DAQ to sync block
NI PCIe-8381, x8 Gen2 MXI-Express for PXI Express Interface | National Instruments | 782361-01 |  | 1552 | Remote control PXIe module
NI PXIe-8381, x8 Gen2 MXI-Express for PXI Express Interface | National Instruments | 782362-01 |  | 1552 | Remote control PC module
MXI-Express Cable, Gen 2 x8, Copper, 5m | National Instruments | 782317-05 |  | 428 | Cable between RC modules
BNC Terminator, 10-Pack RFAdapter 50 Ohm RF Coax Adapter Connector Coaxial Cable End | Amazon | B07WPR8L6B |  | 9.99 | Prevents TTLs from carrying over into empty channels
Tripp Lite 12-outlet surge protector | Home Depot | TLP1208TELTV |  | 43.59 | Prevent hard drive failure due to power surge or outage
PC (see next tab) |  |  |  | 4000
Monitor |  |  |  | 250
Alternatives:
NI PCIe-8381, NI-PXIe-8381, MXI-Express Cable Bundle | NI | 782522-01 |  | 2975 | Bundle for the PCIe/PXIe and cable
PXIe -6363, X Series | NI | 781056-01 |  | 2691 | alternative to the 6341. NI DAQ PXIe module; 48 DIO, 32 at 1MHz
SCB-68A | NI | 782536-01 |  | 385 | alternative to the bnc board.
MXI-Express Cable, Gen 2 x8, Copper, 3m | National Instruments | 782317-03 |  | 286 | alternative/shorter mxi cable. this is the one included in the bundle above
Probes:
NPX 1.0 Probes w Cap (Box 5) | IMEC | PRB_1_4_0480_1_C | 6000 | 7200
Dummy NPX 1.0 Probes w Cap (Box 6) | IMEC | DPRB_1_4_0480_1_C | 900 | 1080

## Computer Specs
Minimum for Neuropixels: PCle chassis, minimum processing power, SSD, 1TB storage
Part | Type | Notes
Chassis | Precision 5820 Tower XCTO Base, 950W, PCle FlexBay RTX Chassis | PCle chassis required
Processor | Intel Xeon W-2133, DDR4-2666 | Intel processor required
Video card | Nvidea Quadro RTX4000, 8GB, 3DP, VirtualLink (XX20T)
Memory | 64GB DDR4 2666MHz | Required for processor
Boot drive | Intel NVMe PCle SSD
Storage drive controllers | RST-e with 1-2 Front FlexBay NVMe PCle Drives
Storage drive | M.2 1TB PCle NVMe Class 40 SSD | SpikeGLX records 75GB/probe/hour, so adjust according to your expected daily recording output